## Sheet1
Category | Feature / Item | What to Check | Status (Pass / Fail / N/A) | Action Required / Notes
Smoke & CO Detectors | Smoke Alarm Coverage | One smoke detector installed on every level and inside/outside each bedroom.
Smoke & CO Detectors | Smoke Detector Functionality | Test test-buttons monthly; verify batteries are replaced annually (or unit <10 yrs old).
Smoke & CO Detectors | Carbon Monoxide Detectors | Installed near sleeping areas and fuel-burning appliances.
Fire Extinguishers | Availability & Class | At least one rated ABC extinguisher available (kitchen and garage recommended).
Fire Extinguishers | Inspection & Charge | Pressure gauge needle is in the green zone; pull pin and seal are intact.
Fire Escapes & Exits | Escape Routes | At least two clear exit routes planned from each room/bedroom.
Fire Escapes & Exits | Egress Windows | Windows open smoothly without sticking; safe size for adult escape.
Fire Escapes & Exits | Exit Clearances | Hallways | stairs | and doors free of clutter | furniture | or trip hazards.
Electrical Safety | Electrical Panel & Breakers | Breaker box labeled clearly; no flickering lights or frequently tripped breakers.
Electrical Safety | Outlets & Switches | Wall plates intact; no scorch marks | buzzing sounds | or loose-fitting plugs.
Electrical Safety | Extension Cords | Cords used temporarily only; not run under carpets or through doorways.
Heating & Appliances | Dryer Vent System | Lint trap cleaned after each load; rigid metal exhaust duct free of buildup.
Heating & Appliances | Space Heaters & Fireplaces | Kept at least 3 feet away from curtains/bedding; chimneys inspected annually.
Heating & Appliances | Kitchen Stove & Range Hood | Range hood filter clean of grease; no flammable items stored near cooktop.
Garage & Storage | Fire-Rated Door | Self-closing | solid-core or fire-rated door leading from garage into living area.
Garage & Storage | Flammable Materials | Gasoline | paint | and propane stored in approved containers away from ignition sources.
Emergency Preparedness | Fire Escape Plan | Family evacuation plan practiced twice a year with a designated meeting spot outside.

## Sheet2
smoke_detector | new_batteries | abc_extinguisher | clear_exit_routes | Windows | Hallways | Compliant
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 11 | 2 | 1
2 | 2 | 2 | 2 | 12 | 2 | 1
2 | 2 | 2 | 2 | 9 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 14 | 2 | 1
2 | 2 | 2 | 2 | 16 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 17 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 15 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 13 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 11 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 9 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
2 | 2 | 2 | 2 | 10 | 2 | 1
1 | 0 | 2 | 2 | 8 | 2 | 0
1 | 0 | 2 | 2 | 8 | 2 | 0
1 | 2 | 1 | 2 | 6 | 2 | 0
1 | 0 | 2 | 2 | 8 | 2 | 0
3 | 0 | 0 | 2 | 8 | 1 | 0
2 | 0 | 2 | 0 | 7 | 1 | 0
1 | 0 | 2 | 0 | 7 | 1 | 0
1 | 0 | 2 | 0 | 7 | 1 | 0
1 | 0 | 2 | 0 | 7 | 1 | 0
1 | 0 | 2 | 0 | 7 | 1 | 0
1 | 0 | 2 | 0 | 6 | 0 | 0
1 | 0 | 2 | 0 | 6 | 0 | 0
1 | 0 | 2 | 1 | 6 | 0 | 0
1 | 0 | 1 | 0 | 6 | 0 | 0
1 | 2 | 1 | 0 | 6 | 0 | 0
1 | 2 | 1 | 0 | 6 | 0 | 0
2 | 2 | 1 | 0 | 6 | 0 | 0
2 | 2 | 1 | 0 | 6 | 0 | 0
0 | 2 | 1 | 0 | 7 | 0 | 0
0 | 2 | 1 | 1 | 7 | 1 | 0
0 | 2 | 1 | 1 | 7 | 1 | 0
0 | 1 | 2 | 1 | 7 | 1 | 0
0 | 1 | 2 | 1 | 7 | 1 | 0
0 | 1 | 2 | 1 | 7 | 1 | 0